# Test Plan & Results

# 1. Test Plan

| Test | Method | Expected Result |
| --- | --- | --- |
| Usability | Users wear device, place finger, follow prompts | Easy to wear, simple interaction, understandable display |
| Performance | Run system continuously and monitor sensor updates and BLE | Real-time response (<1 sec), stable readings |
| Accuracy (User Testing) | Test with multiple users under questioning scenarios | Approx. 60–65% correct identification of stress/deception patterns |

# 2. User Testing

Users: Multiple participants including classmates and peers with varying stress responses.

Tasks: Users wore the device, underwent calibration, and were asked simple and control questions while responses were recorded.

# 3. Results

| Test | Outcome | Pass/Fail |
| --- | --- | --- |
| Usability | Users were able to wear and operate device with minimal guidance | Pass |
| Performance | System responded in near real-time with continuous updates | Pass |
| Accuracy | Approximately 60–65% accuracy observed during user testing | Partial Pass |

# 4. Observations

• Users showed curiosity and engagement while observing live waveform

• Some users adjusted finger placement frequently to get stable readings

• Nervous users showed noticeable spikes in GSR and BPM

• Pain point: maintaining consistent contact with sensors

# 6. Improvements Suggested

• Adding a breathing sensor could significantly improve accuracy

• Improve physical design for better sensor stability

• Refine algorithms for better signal filtering

• Improve app visualization and feedback clarity